## Sheet1
SourceData-table
SourceData | Appl. Field | Description
ScreenName | lg | (placeholder for Columbus internal data)
ScreenID | lg | (placeholder for Columbus internal data)
ProjectName | lg | (placeholder for Columbus internal data)
ProjectID | lg | (placeholder for Columbus internal data)
DatasetName | lg | (placeholder for Columbus internal data)
DatasetID | lg | (placeholder for Columbus internal data)
DeviceName | lg | In most cases the name of a microscopy (e.g. Opera 3364)
DeviceType | lg | In most cases the name of a microscopy family (e.g. Opera LX)
PlateName | LG | In most cases the barcode of the plate
PlateID | lg | (placeholder for Columbus internal data)
PlateRows | lg | Number of Rows (starting with 1)
PlateColumns | lg | Number of Columns (starting with 1)
PlateType | lg | Type of the plate (e.g. Cell-Carrier 384)
Barcode | LG | deprecated: please use PlateName instead
MeasurementDate | LG | The date and time of the start of the measurement, in string format. This data is the same for all rows. Not clear which timezone is used.
MeasurementID | lg | (placeholder for Columbus internal data)
MeasurementGUID | lg | Global unique ID for the measurement, if not available a concatination of Platename and Measurementdate is used
AreaName |  | The name of the area the well belongs to
AreaAnalysisType |  | The ID of the area the well belongs to (allowed Types: "Sample","Concentration","Positive","Negative")
Row | LG,C | The row number of the well (starting with 1)
Column | LG,C | The column number of the well (starting with 1)
WellName | LG | Excel style well name like (A4)
Field | C,LG | The field counter (starting with 1; partly used as ID)
NumberOfFields | c,lg | Typically the maximum of Field if this is used as counter
Plane | C | The plane counter (starting with 1; partly used as ID)
NumberOfPlanes | c | Typically the maximum of Plane if this is used as counter
Timepoint | C,K | The timepoint counter (starting with 1; partly used as ID)
NumberOfTimepoints | c,k | Typically the maximum of Timepoint if this is used as counter
MicroTimepoint | C,K | The micro-timepoint counter (starting with 1; partly used as ID) used for FLIM
MicroTimeOffset@s | F | The micro time difference between reference time position (exposure pulse) and the acquisition time (gate delay) used for FLIm and values in the range of ns or ps
MicroTimeDuration@s | F | The micro time duration (integration time of gate) used for FLIm and values in the range of ns or ps
NumberOfMicroTimepoints | c,k | Typically the maximum of Timepoint if this is used as counter used for FLIM
Channel | I,C | The channel counter (starting with 1)
NumberOfChannels | i,c | Typically the maximum of Channel
IlluminationType |  | The type of the illumination (allowed Types: "Transmitted","Epifluorescence"). This is in correspondence with the OME-IlluminationTypes (Transmitted,Epifluorescence,Oblique)
ChannelName | c | The name of the channel (e.g. Hoechst)
ChannelType |  | The type of the channel (allowed Types: "Brightfield","Fluorescence","Phase",""). This is in correspondence with the OME-ContrastMethods (Brightfield,Phase,DIC,Hoffman Modulation,Oblique Illumination,Polarized Light,Darkfield,Fluorescence)
ChannelColor |  | The preferred color of the channel (e.g. 0xFF0000 for RGB)
CameraExposureTime@s | i | exposure time of the camera
MainExcitationWavelength@nm |  | The excitation color for the channel (e.g. 488 for wavelength in nm)
MainEmissionWavelength@nm |  | The emission color for the channel (e.g. 488 for wavelength in nm)
AcquisitionType |  | The acquistion type of the channel (allowed Types: "Confocal","NonConfocal","NipkowConfocal","SpotConfocal")
ImageResolutionX@um | C | The width of a single pixel in micro meter, typically determined by Camera-Pixel-Size * Camera-Binning-X / Objective-Magnification (for Operetta the tube lense factor has to be taken into account). Note: has to be same for all images of one field
ImageResolutionY@um | C | The height of a single pixel in micro meter, typically determined by Camera-Pixel-Size * Camera-Binning-Y / Objective-Magnification (for Operetta the tube lense factor has to be taken into account). Note: in most cases has to be same like ImageResolutionX@um
ImageResolutionZ@um | d | The Z-height of a single pixel in micro meter as used for 3D visualization
ImageType |  | information about the image content mainly used for image correction. Allowed types: Signal, Reference2D (image showing 2D intensity distribution typically used for flatfield correction), Reference3D (image showing inhomogenious intensity distribution like beads typically used for skewcrop correction), DarkImage (image aquired without excitation used for background substraction)
ImageWidth | I | width of the image (partly replaced by attribute of sourceimage). Note: has to be same for all images of one field (5D array)
ImageHeight | I | height of the image (partly replaced by attribute of sourceimage). Note: has to be same for all images of one field (5D array)
ImageSizeX | I | alternative to ImageWidth
ImageSizeY | I | alternative to ImageHeight
ImageBitPerPixel | I | Number of bit per pixel (partly replaced by attribute of sourceimage)
DistanceZ@um | d | The distance between the individual image planes in micro meter
PositionX@um | S | The X distance from the center of the well in micro meter
PositionY@um | S | The Y distance from the center of the well in micro meter
OrientationMatrix | S | Orientation matrix as string like [[0,-1,0],[1,0,0],[0,0,1]] (see ImageRegistration)
PositionZ@um | D | The distance between the image acqusition height and the upper glass surface measured in micro meter
TimeOffset@s | K | The time difference between an arbitrary absolute time position and the acquisition time. They must have the same reference 0 time within the same Field (a set of planes, channels, timepoints, etc).
AbsoluteTime@s | K | The time absolute time as number of seconds since January 1, 1970, in UTC. It is the acquisition time of the particular image.
MeasurementTimeOffset@s | k | deprecated: The time difference between the acquisition and the start of the plate measurement(use AbsoluteTime@ instead).
CameraRef |  | ID reference for the camera used
CameraBinningX |  | Binning of the camera in X
CameraBinningY |  | Binning of the camera in Y (in most cases has to be the same like CameraBinningX)
FilterCombinationRef |  | ID reference for the filter combination used
LightSourceCombinationRef |  | ID reference for the light source combination used
LightSourceType |  | Description of the light source (allowed Types: "Laser", "UV lamp", "T LED")
ObjectiveRef | i | ID reference for the objective used
ObjectiveMagnification | i | Magnification of the Objective
ObjectiveNA | i | Numerical Apertur of the Objective
ObjectiveImmersion | i | immersion type. Allwoed values: Air,Water,Oil,Other
sourceimage | lg | reference to binary object representing the image pixel values
sourcefilename | lg | filename of the image
sourcefilesize | lg | estimated size of the uncompressed image in memory (in some cases used for optimizing the thread-memory-management)
sourcefileexist | lg | boolean (0,1) if file exists
sourcefilebufferno | lg | bufferno (starting with 0) if sourcedata refers to a multiplane tif/flex
FlatfieldProfile |  | Background and Foreground characterisation (see also Flatfield Profile Description)
Application Field Identifier | Description (*)
i | Recommended for image processing
I | Required for image processing
c | Recommended for cellular image analysis
C | Required for cellular image analyis
d | Recommended for 3D analysis
D | Required for 3D analyis
k | Recommended for kinetics analysis
K | Required for kinetics analyis
lg | Recommended for plate logistics
LG | Required for plate logistics
s | Recommended for stitching
S | Required for stitching
f | Recommended for deconvolution
F | Required for deconvolution
(*) In the above table, the terms "required" and "recommended" are used in the following meaning:
Required: the field is guaranteed to be present, provided that the data is suitable for the corresponding analysis type (one cannot do kinetics analysis on data without time series, for example).
Recommended: the field might be present, and if it is present, it might be useful for the corresponding analysis type. The scripts must explicitly check for the presence of the field.